## RUBEGO-NYAMIYAGA-MUSENYI WSS
CONFIDENTIAL
FOREWORD
1 | SITE INSTALLATION AND DRAWINGS
2 | CATCHMENT OF SOURCES
3 | SUPPLY AND LAYING OF PIPES
4 | CIVIL WORKS
FOREWORD
The Contractor has to indicate in the Price Schedule, all the unit and contractual prices appearing in the bill of quantities.
All the prices are to be indicated in the currency as required in the bid document. At the time of the unit and contractual price determination, the bidder takes into account the Instructions to bidders, the descriptions contained in the Price Schedule, the General and Particular Technical specifications, as those contained in the drawing which is also an integral part of the bidding document.
The supply prices include all the costs of supplying and temporary storages up to the time of execution, any intermediate transport, the transport to a warehouse of materials not used as indicated by the Client, and their eventual placement.
If the bidder submits a Price Schedule and a Bill of Quantities according to his own criteria, he must strictly respect the format given in this bid document:
 numbering of items
 structure of subtotal and total
 the quantities indicated in the bill
General information:
Water Quality Analysis
The water Quality should be done by the contractor at each water source to ensure that water will not have negative effect on human health as well as on pipe material,to be on safe side ,it is recommended that per each sample three tests be carried out and the mean of them will be taken as the result of the sample. therefore the recommeded test to be done are:
*E-coli ,faecal califorms and total califorms because they are the main indicators of pathogenic microorganisms that directly affect human health
*Conductivity, PH, Temperature, and TDS because they are indicators of pipe collission
Civil works
All the civil and construction works will be carried out according to the drawings f the successiful bidder, and the requirements of the General and Particular Technical specifications. These drawings require the approval of the Representative of the Client.
The prices include all the civil works, the installation of equipments, the supply and fixing of covers, step irons, anchors, and all accruals indicated on the drawings. The prices also include the supply and fixing of watertight wall fittings. The wall fittings will be in galvanized steel or in cast iron, their lengths will be given according to the thickness of the walls by ensuring a wall clearance of 15 cm on each side. The testing for tightness is also included in the prices of the hydraulic works.
Reinforced concrete works:
* Supply and casting of reinforced concrete, including formwork and reinforcement
* Structural stability of the works according to the article 1.2 of the General provisions of the technical clauses and drawings of reinforcement
* Supply and cast reinforced concrete conforming to the standards and the technical specifications, including transport, additives, factors of safety, etc.
* Equipments and labour necessary to make, place, vibrate and curing of concrete
* Supply, placement, adjustment, rubber seals for tightness, and dilation of dummy joints
* Any accruals for chanals of conduits, sleeves, etc, for the installation of the equipments and various machines
* Supply and fix mild steels and (or) high-strength steels meeting the standards and the technical specifications, including terms of supply and labour resulting from the fabrication of the concrete, the reinforcements, the offcuts, bindings and adjustment between prefabricated lengths and real lengths.
*Tests in accordance with the technical specifications including all accruals.
* The price for the laying of the pipes comprises of the price for the placement, the pressure tests, and all other accruals.
By signing the tender, the bidder acknowledges the priority of the texts of this Tender Document.
DRINKING WATER SUPPLY OF KADUHA SECTOR NYAMAGABE DISTRICT
RUBEGO-NYAMIYAGA-MUSENYI WSS
Detailed Quantity Estimate
Item N° | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | Preliminaries and site cleaning
1.1 | Installation and site closing at the end of works, including the transport of materials and equipment necessary to perform works, installing 2 site sign board including all accruals and removal of all wastes from the site in all pipelines and spaces around structures implementation site as per the client instructions including all accruals | Lump Sum | 1 |  | 0
1.2 | Study review and drawings of the site plan, drawings of particular details, longitudinal profiles, hydraulic works to perfom execution including Surveying works before, during and after the execution Works including regular availability of surveying equipement (2 GPS,1 Level and 1 Total station) including all accruals | Km | 19.3228 |  | 0
| SUBTOTAL Preliminaries and site cleaning |  |  |  | 0
2 | CATCHMENT OF SOURCES
2.1 | CATCHMENT OF SOURCE RUBEGO 1(2.2L/S)
2.1.1 | Site clearance, removal of top vegetable soil, and site leveling or any shaping necessary | m2 | 1200 |  | 0
2.1.2 | Earthwork , cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 768 |  | 0
2.1.3 | Increase in value for a hard ground | m3 | 324 |  | 0
2.1.4 | Increase in value for a rocky ground | m3 | 183 |  | 0
2.1.5 | Supply and fix 18m PVC strainer DE75 DN60 PN10 to 20 cm of the tablecloth and routing of water in pipe PVC DE63 DN50 PN10 of the strainer to the starting chamber at 45 m, including all accruals | lm | 55 |  | 0
2.1.6 | Supply and fix rolled filitrant river gravel, well washed up to 60 cm height, including all accruals | m3 | 15 |  | 0
2.1.7 | Supply and fix plastic tight sheet with the top of the gravel folded in 3 layers, including all accruals | m2 | 40 |  | 0
2.1.8 | Fill with clay for a tight layer of 30 cm | m3 | 10 |  | 0
2.1.9 | Fill with fine grained soil to a layer of 15 cm on top of the clay, including all accruals | m3 | 180 |  | 0
2.1.10 | Fill with soils without roots and other organic matter by compacting each time layers of 20 cm up to the level of the original ground, including all accruals | m3 | 240 |  | 0
2.1.11 | Excavate a trench of protection of the source up to 80 cm depth. The bottom width 40 cm, including all accruals. | m3 | 96 |  | 0
2.1.12 | Put in Place a Gabion retaining wall for protecting up stream of Source. Bottom width 60cm, length of 12 m and height of 2.5 m | m3 | 18 |  | 0
2.1.13 | Put in place a protective fence of quickset hedge in euphorbiums against animals, including all accruals | lm | 200 |  | 0
2.1.14 | Plant passparum around the zone of harnessing, including all accruals | m2 | 1200 |  | 0
2.1.15 | Water Quality Analysis | LS | 1 |  | 0
| SUBTOTAL SOURCE RUBEGO 1(2.2L/S) |  |  |  | 0
2.2 | CATCHMENT OF SOURCE RUBEGO 2 (0.7 L/S)
2.2.1 | Site clearance, removal of top vegetable soil, and site leveling or any shaping necessary | m2 | 1700 |  | 0
2.2.2 | Earthwork , cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 768 |  | 0
2.2.3 | Increase in value for a hard ground | m3 | 324 |  | 0
2.2.4 | Increase in value for a rocky ground | m3 | 183 |  | 0
2.2.5 | Supply and fix 18m PVC strainer DE75 DN60 PN10 to 20 cm of the tablecloth and routing of water in pipe PVC DE63 DN50 PN10 of the strainer to the starting chamber at 45 m, including all accruals | lm | 20 |  | 0
2.2.6 | Supply and fix rolled filitrant river gravel, well washed up to 60 cm height, including all accruals | m3 | 15 |  | 0
2.2.7 | Supply and fix plastic tight sheet with the top of the gravel folded in 3 layers, including all accruals | m2 | 40 |  | 0
2.2.8 | Fill with clay for a tight layer of 30 cm | m3 | 10 |  | 0
2.2.9 | Fill with fine grained soil to a layer of 15 cm on top of the clay, including all accruals | m3 | 255 |  | 0
2.2.10 | Fill with soils without roots and other organic matter by compacting each time layers of 20 cm up to the level of the original ground, including all accruals | m3 | 340 |  | 0
2.2.11 | Excavate a trench of protection of the source up to 80 cm depth. The bottom width 40 cm, including all accruals. | m3 | 48 |  | 0
2.2.12 | Put in place a protective fence of quickset hedge in euphorbiums against animals, including all accruals | lm | 150 |  | 0
2.2.13 | Plant passparum around the zone of harnessing, including all accruals | m2 | 1700 |  | 0
2.2.14 | Water Quality Analysis | LS | 1 |  | 0
| SUBTOTAL SOURCE RUBEGO 2 (0.7 L/S) |  |  |  | 0
2.3 | CATCHMENT OF SOURCE RUBEGO 3 (0.9 L/S)
2.3.1 | Site clearance, removal of top vegetable soil, and site leveling or any shaping necessary | m2 | 1200 |  | 0
2.3.2 | Earthwork , cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 768 |  | 0
2.3.3 | Increase in value for a hard ground | m3 | 324 |  | 0
2.3.4 | Increase in value for a rocky ground | m3 | 183 |  | 0
2.3.5 | Supply and fix 18m PVC strainer DE75 DN60 PN10 to 20 cm of the tablecloth and routing of water in pipe PVC DE63 DN50 PN10 of the strainer to the starting chamber at 45 m, including all accruals | lm | 35 |  | 0
2.3.6 | Supply and fix rolled filitrant river gravel, well washed up to 60 cm height, including all accruals | m3 | 15 |  | 0
2.3.7 | Supply and fix plastic tight sheet with the top of the gravel folded in 3 layers, including all accruals | m2 | 40 |  | 0
2.3.8 | Fill with clay for a tight layer of 30 cm | m3 | 10 |  | 0
2.3.9 | Fill with fine grained soil to a layer of 15 cm on top of the clay, including all accruals | m3 | 180 |  | 0
2.3.10 | Fill with soils without roots and other organic matter by compacting each time layers of 20 cm up to the level of the original ground, including all accruals | m3 | 240 |  | 0
2.3.11 | Excavate a trench of protection of the source up to 80 cm depth. The bottom width 40 cm, including all accruals. | m3 | 96 |  | 0
2.3.12 | Put in Place a Gabion retaining wall for protecting up stream of Source. Bottom width 60cm, length of 20m and height of 2 m | m3 | 24 |  | 0
2.3.13 | Put in place a protective fence of quickset hedge in euphorbiums against animals, including all accruals | lm | 300 |  | 0
2.3.14 | Plant passparum around the zone of harnessing, including all accruals | m2 | 1200 |  | 0
2.3.15 | Water Quality Analysis | LS | 1 |  | 0
| SUBTOTAL SOURCE RUBEGO 3 (0.9L/S) |  |  |  | 0
| SUBTOTAL CATCHMENT OF SOURCES |  |  |  | 0
3 | SUPPLY AND LAYING OF PIPES
The following prices include :
3.1 | The earthwork, trenches backfilling per layers of 20 cm thick and land remediation at natural surface ground including all accruals.
3.2 | Supply, fix, and pressure testing for watertightness of pipes including lubricants and seals and all accruals.
3.1 | Earthwork by excavation and backfilling
3.1.1 | Excavation and backfilling in loose ground up to 1.10 m depth , including all accruals. | m3 | 5780.7403 |  | 0
| Excavation and backfilling in loose ground up to 1.10 m depth , including all accruals. | m4 | 402.56 |  | 0
3.1.2 | Supply and Installation of Concrete Terminals (painted blue and numbered) on the route of the pipeline, dim.0.15 * 0.15 * 0.8m , every 100m and at each change of direction (elbow position) | Item | 193.2281 |  | 0
| SUBTOTAL excavation and backfilling |  |  |  | 0
3.2 | Supply and laying of pipes
3.2.1 | HDPE Pipe of DN 125 PN 16 | lm | 451.0353 |  | 0
3.2.2 | HDPE Pipe of DN 110 PN 16 | lm | 1547.7917 |  | 0
3.2.3 | HDPE Pipe of DN90 PN 16 | lm | 1502.6496 |  | 0
3.2.4 | HDPE Pipe of DN75 PN 16 | lm | 553.9086 |  | 0
3.2.5 | HDPE Pipe of DN63 PN 16 | lm | 5030.5391 |  | 0
3.2.6 | HDPE Pipe of DN50 PN 16 | lm | 2420.9817 |  | 0
3.2.7 | HDPE Pipe of DN 40 PN 16 | lm | 647.4945 |  | 0
3.2.8 | HDPE pipes DN32 PN 16 | lm | 7168.4131 |  | 0
3.2.9 | Casing with GS 6" for crossing ravine and roads | lm | 164 |  | 0
3.2.10 | Casing with G.S 5" pipes ravine and roads | lm | 84 |  | 0
3.2.11 | Casing with G.S 4" pipes ravine and roads | lm | 64 |  | 0
3.2.12 | Casing with G.S 3" pipes ravine and roads | lm | 48 |  | 0
3.2.13 | Casing with G.S 2 1/2" pipes ravine and roads | lm | 24 |  | 0
3.2.14 | Solid mass of masonry in stones for pipes stabilization | m3 | 76.8 |  | 0
3.2.15 | Pressure test | lm | 19322.8136 |  | 0
3.2.16 | Network desinfection with chlorine | lm | 19322.8136 |  | 0
| SUBTOTAL Supply and laying of pipes |  |  |  | 0
| SUBTOTAL SUPPLY AND LAYING OF PIPES |  |  |  | 0
4 | CIVIL WORKS
4.1 | INSPECTION CHAMBERS
4.1.1 | Washout #(1.6×1.6×1.2m)
4.1.1.1 | Earthworks cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 9 |  | 0
4.1.1.2 | Hardcore (stones pitching) of 30 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.2 |  | 0
4.1.1.3 | Blind concrete class C, thickness 5 cm | m3 | 0.2 |  | 0
4.1.1.4 | Reinforced concrete for base slab ,class A | m3 | 0.324 |  | 0
4.1.1.5 | Reinforced concrete for roof slab ,class A | m3 | 0.288 |  | 0
4.1.1.6 | walls in stones masonry jointed with a mortar of class D | m3 | 1.536 |  | 0
4.1.1.7 | Coating of the internal face of wall of the inspection chamber with 3 layers of plaster of 300 kg | m2 | 5.76 |  | 0
4.1.1.8 | Plaster on the upper side of roof slab with a rough mortar class B | m2 | 2.88 |  | 0
4.1.1.9 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.28 |  | 0
4.1.1.10 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and mosquito screen | item | 1 |  | 0
4.1.1.11 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of paint "rust preventive", the step=25cm | lm | 1.2 |  | 0
4.1.1.12 | Supply and installation of hydraulic equipment and Fittings for connection of Air release valve | LS | 1 |  | 0
| SUBTOTAL |  |  |  | 0
| SUBTOTAL of 3 Washout |  |  |  | 0
4.1.2 | INTAKE CHAMBER # (2.9×2.2×1.2m)
4.1.2.1 | Earthwork by cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 12.48 |  | 0
4.1.2.2 | Hardcore (stones pitching) of 30 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively | m3 | 2.574 |  | 0
4.1.2.3 | Blind with concrete, thickness 5 cm | m3 | 0.429 |  | 0
4.1.2.4 | Hydraulic reinforced concrete for the base | m3 | 1.353 |  | 0
4.1.2.5 | Reinforced concrete for the roof | m3 | 0.8 |  | 0
4.1.2.6 | Masonry walls in hardcore, with fair face pointed at the joints | m3 | 2.736 |  | 0
4.1.2.7 | Coating of the internal face of wall of the tank with 3 hydrafuges water proofing coats | m2 | 6.67 |  | 0
4.1.2.8 | Coating of the internal face of wall of the inspection chamber with 3 layers of plaster of 300 kg | m2 | 6.76 |  | 0
4.1.2.9 | Supply and apply 3 layers of paints "Sikalatex" | m2 | 6.67 |  | 0
4.1.2.10 | Plaster on upper side of the roof slab with a rough mortar | m2 | 7.64 |  | 0
4.1.2.11 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 2.04 |  | 0
4.1.2.12 | Supply and fix of the metallic cover of 60 X 60 X 0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.1.2.13 | Supply and fix of an iron ladder embedded in the wall, painted with 3 layers of paint "rust preventive", the step=25cm | lm | 1.25 |  | 0
4.1.2.14 | Supply and installation of hydraulic equipment and Fittings for connection of starting chamber including bulk meters and pH statilization (Calcite material (ex-limestone/travertine or dolomite) and gravel material) |  | 1 |  | 0
| SUBTOTAL |  |  |  | 0
| SUBTOTAL of 1 Intake Chambers |  |  |  | 0
4.1.3 | Air vent #(1.6×1.6×1.2m)
4.1.3.1 | Earthworks cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 9 |  | 0
4.1.3.2 | Hardcore (stones pitching) of 30 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.2 |  | 0
4.1.3.3 | Blind concrete, thickness 5 cm | m3 | 0.2 |  | 0
4.1.3.4 | Reinforced concrete for base slab | m3 | 0.324 |  | 0
4.1.3.5 | Reinforced concrete for roof slab | m3 | 0.288 |  | 0
4.1.3.6 | walls in stones masonry jointed with a mortar | m3 | 1.536 |  | 0
4.1.3.7 | Coating of the internal face of wall of the inspection chamber with 3 layers of plaster of 300 kg | m2 | 5.76 |  | 0
4.1.3.8 | Plaster on the upper side of roof slab with a rough mortar | m2 | 2.88 |  | 0
4.1.3.9 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.28 |  | 0
4.1.3.10 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and mosquito screen | item | 1 |  | 0
4.1.3.11 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of paint "rust preventive", the step=25cm | lm | 1.2 |  | 0
4.1.3.12 | Supply and installation of hydraulic equipment and Fittings for connection of Air release valve | LS | 1 |  | 0
| SUBTOTAL |  |  |  | 0
| SUBTOTAL of 4 Air vent |  |  |  | 0
4.1.4 | Collection chamber # (2.5×2.2×1.5m)
4.1.4.1 | Earthwork by cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 8.68 |  | 0
4.1.4.2 | Hardcore (stones pitching) of 30 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively | m3 | 1.65 |  | 0
4.1.4.3 | Blind with concrete class C, thickness 5 cm | m3 | 0.275 |  | 0
4.1.4.4 | Hydraulic reinforced concrete for the base | m3 | 1.008 |  | 0
4.1.4.5 | Reinforced concrete for the roof ,class A | m3 | 1.008 |  | 0
4.1.4.6 | Masonry walls in bricks, with fair face pointed at the joints | m3 | 2.58 |  | 0
4.1.4.7 | Coating of the internal face of wall of the chamber with 3 water proofing coats | m2 | 11.7 |  | 0
4.1.4.8 | Coating of the internal face of wall of the inspection chamber with 3 layers of plaster of 300 kg | m2 | 11.7 |  | 0
4.1.4.9 | Supply and apply 3 layers of paints "Skalatex" | m2 | 16.92 |  | 0
4.1.4.10 | Plaster on upper side of the roof slab with a rough mortar class B | m2 | 8.32 |  | 0
4.1.4.11 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.88 |  | 0
4.1.4.12 | Supply and fix of the metallic cover of 60 X 60 X 0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.1.4.13 | Supply and fix of an iron ladder embedded in the wall, painted with 3 layers of paint "rust preventive", the step=25cm | lm | 1.65 |  | 0
4.1.4.14 | Supply and installation of hydraulic equipment and Fittings for connection of starting chamber including bulk meter and pH statilization | Lump Sump | 1 |  | 0
| SUBTOTAL of 2 collection chamber |  |  |  | 0
4.1.5 | CONSTRUCTION OF SECTION VALVE BRANCHES CHAMBERS
4.1.5.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 10.78 |  | 0
4.1.5.2 | Hardcore (stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.209 |  | 0
4.1.5.3 | Blind concrete class C, thickness 5 cm | m3 | 0.30225 |  | 0
4.1.5.4 | Reinforced concrete for base slab and roof slab ,class A | m3 | 1.0728 |  | 0
4.1.5.5 | Lateral walls in stones masonry jointed with a mortar of class D | m3 | 1.36 |  | 0
4.1.5.6 | Coating of the internal side of wall of the inspection chamber with 3 layers of plaster of 300 kg ciment mixture | m2 | 13.6 |  | 0
4.1.5.7 | Plaster on upper side of the slab with a rough mortar class B | m2 | 4.68 |  | 0
4.1.5.8 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.2 |  | 0
4.1.5.9 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.1.5.10 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of rust preventive paint, the step=25cm | lm | 1 |  | 0
4.1.5.11 | Supply and installation of hydraulic equipment and Fittings for connection of valve chamber | lm | 1 |  | 0
| SUBTOTAL |  |  |  | 0
| SUBTOTAL For 11 Valve chamber |  |  |  | 0
4.1.6 | CONSTRUCTION OF CHROLINATION CHAMBER
4.1.6.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 10.78 |  | 0
4.1.6.2 | Hardcore (stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.209 |  | 0
4.1.6.3 | Blind concrete class C, thickness 5 cm | m3 | 0.30225 |  | 0
4.1.6.4 | Reinforced concrete for base slab and roof slab ,class A | m3 | 1.0728 |  | 0
4.1.6.5 | Lateral walls in stones masonry jointed with a mortar of class D | m3 | 1.36 |  | 0
4.1.6.6 | Coating of the internal side of wall of the inspection chamber with 3 layers of plaster of 300 kg ciment mixture | m2 | 13.6 |  | 0
4.1.6.7 | Plaster on upper side of the slab with a rough mortar class B | m2 | 4.68 |  | 0
4.1.6.8 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.2 |  | 0
4.1.6.9 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.1.6.10 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of rust preventive paint, the step=25cm | lm | 1 |  | 0
4.1.6.11 | Installation of Chlorination Unit (Klorman Standard Unit) with all related Accessories and pipes based on technical specifications of Klorman Standard Unit. | lm | 1 |  | 0
| SUBTOTAL |  |  |  | 0
| SUBTOTAL For 1 Chrolination chamber |  |  |  | 0
4.1.7 | CONSTRUCTION OF CHAMBER AND INSTALLATION OF BULK METER
4.1.7.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 10.78 |  | 0
4.1.7.2 | Hardcore (stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.209 |  | 0
4.1.7.3 | Blind concrete class C, thickness 5 cm | m3 | 0.30225 |  | 0
4.1.7.4 | Reinforced concrete for base slab and roof slab ,class A | m3 | 1.0728 |  | 0
4.1.7.5 | Lateral walls in stones masonry jointed with a mortar of class D | m3 | 1.36 |  | 0
4.1.7.6 | Coating of the internal side of wall of the inspection chamber with 3 layers of plaster of 300 kg ciment mixture | m2 | 13.6 |  | 0
4.1.7.7 | Plaster on upper side of the slab with a rough mortar class B | m2 | 4.68 |  | 0
4.1.7.8 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.2 |  | 0
4.1.7.9 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.1.7.10 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of rust preventive paint, the step=25cm | lm | 1 |  | 0
4.1.7.11 | Installation of Bulk Meter with at least of nominal flow rate of 25m3/h and maximum admissible pressure of 16 bar in conformity with european standards and ISO4064:2005 | lm | 1 |  | 0
| SUBTOTAL |  |  |  | 0
| SUBTOTAL For 1 Bulk Meter |  |  |  | 0
| Sub total Inspection chambers |  |  |  | 0
4.2 | RESERVOIRS
4.2.1 | Upgrading of 75m3 to 100 m3 capacity
4.2.1.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 135.2 |  | 0
4.2.1.2 | Hardcore (stones pitching) of 30 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively, saturated with water | m3 | 13.2469 |  | 0
4.2.1.3 | Blind concrete, thickness 5 cm | m3 | 2.2078 |  | 0
4.2.1.4 | Hydraulic reinforced concrete for the base | m3 | 8.6821 |  | 0
4.2.1.5 | Reinforced concrete for roof slab and beams | m3 | 6.768 |  | 0
4.2.1.6 | Concrete for the reservoir walls (elevations). (dosage 400 kg/m3) and column | m3 | 26.5079 |  | 0
4.2.1.7 | Coating of the internal,external face of wall and base of the tank with 3 hydrafuges water proofing coats | m2 | 370.7948 |  | 0
4.2.1.8 | Supply and coating the faces of the tank with 3 layers of "Sikalatex" paint | m2 | 370.7948 |  | 0
4.2.1.9 | Plaster on the upper side of roof slab with a rough mortar | m2 | 38.465 |  | 0
4.2.1.10 | Supply and fix damp proof course between the roof slab, the wall and the beam of support | m2 | 9.936 |  | 0
4.2.1.11 | Supply and fix of the metallic cover of 80X80X0.3 cm with a ventilation shaft at the top and a mosquito screen | item | 2 |  | 0
4.2.1.12 | Supply a portable aluminium ladder, the step=25cm and total length = 3 meter. | LS | 1 |  | 0
4.2.1.13 | INSPECTION CHAMBER
4.2.1.14 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 8 |  | 0
4.2.1.15 | Hardcore (stones pitching) of 20 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively, saturated with water | m3 | 1.2 |  | 0
4.2.1.16 | Blind concrete, thickness 5 cm | m3 | 0.2 |  | 0
4.2.1.17 | Hydraulic reinforced concrete for the base and roof slab | m3 | 0.6 |  | 0
4.2.1.18 | Walling with shapened hardcore, fair face and pointing in joints | m3 | 2.7 |  | 0
4.2.1.19 | Concrete for the cover slab, th=10cm (dosage 350 kg/m³) | m3 | 0.4 |  | 0
4.2.1.20 | Coating of the internal side of wall of the inspection chamber with 3 layers of plaster of 300 kg ciment mixture | m2 | 9 |  | 0
4.2.1.21 | Plaster on upper side of the slab with a rough mortar | m2 | 4 |  | 0
4.2.1.22 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.8 |  | 0
4.2.1.23 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.2.1.24 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of anti-rust paint, the step=25cm | lumsam | 1 |  | 0
4.2.1.25 | REJECTION WORK
4.2.1.26 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 18 |  | 0
4.2.1.27 | Hardcore (stones pitching) of 20 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively, saturated with water | m3 | 0.432 |  | 0
4.2.1.28 | Blind concrete, thickness 5 cm | m3 | 0.072 |  | 0
4.2.1.29 | Hydraulic reinforced concrete for the base | m3 | 0.144 |  | 0
4.2.1.30 | Walling with fair face stones works and pointing the joint of external faces | m3 | 0.864 |  | 0
4.2.1.31 | Coating of internal faces with 3 layers of plaster of 300 kg ciment mixture | m2 | 2.88 |  | 0
4.2.1.32 | Soakaway pit 1 m3, full of gravel and hardcore (stones pitching) | item | 1 |  | 0
4.2.1.33 | Supply and installation of ductile iron hydraulic equipment and all required fittings for connection of reservoir including water meter, strainer and hybrid valves at every outlet pipes and all accruals | ls | 1 |  | 0
4.2.1.34 | Wiremesh fencing 2m height bound on metallic poles (40x40mm) 2,50 m equidistant and anchoring in a hardcore and cement mortar foundation (1,20 m height) along the outline of the plot | lm | 52 |  | 0
4.2.1.35 | Mesh gate stretched on a metal tubes framework (4,0x2,0 m) for access inside the parcel, including stones masonry columns for fixing | ls | 1 |  | 0
| SUBTOTAL |  |  |  | 0
| SUBTOTAL For Reservoirs of 100m3 |  |  |  | 0
4.2.2 | Construction of a 50 m3 reservoir capacity
4.2.2.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 73.182 |  | 0
4.2.2.2 | Hardcore (stones pitching) of 30 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively, saturated with water | m3 | 12.2287 |  | 0
4.2.2.3 | Blind concrete class C, thickness 5 cm | m3 | 2.0381 |  | 0
4.2.2.4 | Hydraulic reinforced concrete for the base | m3 | 8.2861 |  | 0
4.2.2.5 | Reinforced concrete for roof slab and beams ,class A | m3 | 3.4662 |  | 0
4.2.2.6 | Walling in reinforced concrete | m3 | 16.6914 |  | 0
4.2.2.7 | Coating of the internal face of wall of the tank with 3 hydrafuges water proofing coats | m2 | 69.5576 |  | 0
4.2.2.8 | Supply and coating the faces of the tank with 3 layers of "Sikalatex" paint | m2 | 69.5576 |  | 0
4.2.2.9 | Plaster on the upper side of roof slab with a rough mortar class B | m2 | 34.6618 |  | 0
4.2.2.10 | Supply and fix damp proof course between the roof slab, the wall and the beam of support | m2 | 8.4158 |  | 0
4.2.2.11 | Supply and fix of the metallic cover of 80 x 80 x 0,3 cm with a ventilation shaft at the top and a mosquito screen | item | 2 |  | 0
4.2.2.12 | Supply a portable aluminium ladder, the step=25cm and total length = 3 meter. | LS | 2 |  | 0
4.2.2.13 | Sub total |  |  |  | 0
4.2.2.14 | INSPECTION CHAMBER
4.2.2.15 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 10.78 |  | 0
4.2.2.16 | Hardcore (stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.209 |  | 0
4.2.2.17 | Blind concrete class C, thickness 5 cm | m3 | 0.30225 |  | 0
4.2.2.18 | Reinforced concrete for base slab and roof slab ,class A | m3 | 1.0728 |  | 0
4.2.2.19 | Lateral walls in Reinforced concrete with a mortar of class D | m3 | 1.36 |  | 0
4.2.2.20 | Coating of the internal side of wall of the inspection chamber with 3 layers of plaster of 300 kg ciment mixture | m2 | 13.6 |  | 0
4.2.2.21 | Plaster on upper side of the slab with a rough mortar class B | m2 | 4.68 |  | 0
4.2.2.22 | Supply and fix the damp proof course between the roof slab, the wall and the beam of support | m2 | 1.2 |  | 0
4.2.2.23 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.2.2.24 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of rust preventive paint, the step=25cm | lm | 1 |  | 0
4.2.2.25 | Sub total |  |  |  | 0
4.2.2.26 | REJECTION WORK
4.2.2.27 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 5.67 |  | 0
4.2.2.28 | Hardcore (Stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 0.44 |  | 0
4.2.2.29 | Blind concrete class C, thickness 5 cm | m3 | 0.11 |  | 0
4.2.2.30 | Reinforced concrete class A, for base slab | m3 | 0.22 |  | 0
4.2.2.31 | Masonry walls in hardcore, with fair face pointed at the joints | m3 | 0.134 |  | 0
4.2.2.32 | Coating of walls with 3 layers of plaster of 300 kg cement mixture | m2 | 5.3 |  | 0
4.2.2.33 | Soakaway pit 1 m3, full of gravel and hardcore (stones pitching) | item | 1 |  | 0
4.2.2.34 | Supply and installation of ductile iron hydraulic equipment and all required fittings for connection of reservoir including water meter, strainer and hybrid valves at every outlet pipes and all accruals | Lump Sum | 1 |  | 0
4.2.2.35 | Sub total |  |  |  | 0
| Sub total |  |  |  | 0
| SUBTOTAL OF 2 R50m3 |  |  |  | 0
4.2.3 | Construction of 20 m3 capacity reservoir
4.2.3.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 36.0852 |  | 0
4.2.3.2 | Hardcore (stones pitching) of 30 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively, saturated with water | m3 | 5.3808 |  | 0
4.2.3.3 | Blind concrete class C, thickness 5 cm | m3 | 0.8968 |  | 0
4.2.3.4 | Hydraulic reinforced concrete for the base and column | m3 | 3.5872 |  | 0
4.2.3.5 | Reinforced concrete for roof slab and beams ,class A | m3 | 3.5872 |  | 0
4.2.3.6 | Walling with shapened hardcore, fair face and pointing in joints | m3 | 19.311 |  | 0
4.2.3.7 | Coating of the internal face of wall of the tank with 3 hydrafuges water proofing coats | m2 | 43.7845 |  | 0
4.2.3.8 | Supply and coating the faces of the tank with 3 layers of "Sikalatex" paint | m2 | 43.7845 |  | 0
4.2.3.9 | Plaster on the upper side of roof slab with a rough mortar class B | m2 | 23.1892 |  | 0
4.2.3.10 | Supply and fix damp proof course between the roof slab, the wall and the beam of support | m2 | 7.379 |  | 0
4.2.3.11 | Supply and fix of the metallic cover of 80X80X0.3 cm with a ventilation shaft at the top and a mosquito screen | item | 2 |  | 0
4.2.3.12 | Supply a portable aluminium ladder, the step=25cm and total length = 3 meter. | LS | 2 |  | 0
4.2.3.13 |  |  |  |  | 0
4.2.3.14 | Inspection CHAMBER |  |  |  | 0
4.2.3.15 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 10.78 |  | 0
4.2.3.16 | Hardcore (stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.209 |  | 0
4.2.3.17 | Blind concrete class C, thickness 5 cm | m3 | 0.30225 |  | 0
4.2.3.18 | Reinforced concrete for base slab and roof slab ,class A | m3 | 1.0728 |  | 0
4.2.3.19 | Lateral walls in stones masonry jointed with a mortar of class D | m3 | 1.36 |  | 0
4.2.3.20 | Coating of the internal side of wall of the inspection chamber with 3 layers of plaster of 300 kg ciment mixture | m2 | 13.6 |  | 0
4.2.3.21 | Plaster on upper side of the slab with a rough mortar class B | m2 | 4.68 |  | 0
4.2.3.22 | Supply and fix damp proof course between the roof slab, the wall and the beam of support | m2 | 1.2 |  | 0
4.2.3.23 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.2.3.24 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of rust preventive paint, the step=25cm | lm | 1 |  | 0
4.2.3.25 |  |  |  |  | 0
4.2.3.26 | REJECTION WORK |  |  |  | 0
4.2.3.27 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 5.67 |  | 0
4.2.3.28 | Hardcore (Stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 0.44 |  | 0
4.2.3.29 | Blind concrete class C, thickness 5 cm | m3 | 0.11 |  | 0
4.2.3.30 | Reinforced concrete class A, for base slab | m3 | 0.22 |  | 0
4.2.3.31 | Masonry walls in hardcore, with fair face pointed at the joints | m3 | 0.134 |  | 0
4.2.3.32 | Coating of walls with 3 layers of plaster of 300 kg cement mixture | m2 | 5.3 |  | 0
4.2.3.33 | Soakaway pit 1 m3, full of gravel and hardcore (stones pitching) | item | 1 |  | 0
4.2.3.34 | Supply and installation of ductile iron hydraulic equipment and all required fittings for connection of reservoir including water meter, strainer and hybrid valves at every outlet pipes and all accruals | Lumpsum | 1 |  | 0
| SUBTOTAL OF Res. 20m3 |  |  |  | 0
| SUBTOTAL OF 3Res. 20m3 |  |  |  | 0
4.2.4 | Construction of a reservoir of 10 m3 capacity
4.2.4.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 29.2098 |  | 0
4.2.4.2 | Hardcore (stones pitching) of 30 cm with voids full with cement and sand mortar mix of ratio 1 to 10 respectively, saturated with water | m3 | 3.9588 |  | 0
4.2.4.3 | Blind concrete class C, thickness 5 cm | m3 | 0.65979 |  | 0
4.2.4.4 | Hydraulic reinforced concrete for the base | m3 | 3.162 |  | 0
4.2.4.5 | Reinforced concrete for roof slab and beams ,class A | m3 | 1.13 |  | 0
4.2.4.6 | Walling with shapened hardcore, fair face and pointing in joints | m3 | 9.3639 |  | 0
4.2.4.7 | Coating of the internal face of wall of the tank with 3 hydrafuges water proofing coats | m2 | 25.0199 |  | 0
4.2.4.8 | Supply and coating the faces of the tank with 3 layers of "Sikalatex" paint | m2 | 25.0199 |  | 0
4.2.4.9 | Plaster on the upper side of roof slab with a rough mortar class B | m2 | 11.2999 |  | 0
4.2.4.10 | Supply and fix damp proof course between the roof slab, the wall and the beam of support | m2 | 3.9564 |  | 0
4.2.4.11 | Supply and fix of the metallic cover of 80 x 80 x 0,3 cm with a ventilation shaft at the top and a mosquito screen | item | 1 |  | 0
4.2.4.12 | Supply a portable aluminium ladder, the step=25cm and total length = 3 meter. | LS | 2 |  | 0
4.2.4.13
4.2.4.14 | INSPECTION CHAMBER
4.2.4.15 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 10.78 |  | 0
4.2.4.16 | Hardcore (stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 1.209 |  | 0
4.2.4.17 | Blind concrete class C, thickness 5 cm | m3 | 0.30225 |  | 0
4.2.4.18 | Reinforced concrete for base slab and roof slab ,class A | m3 | 1.0728 |  | 0
4.2.4.19 | Lateral walls in stones masonry jointed with a mortar of class D | m3 | 1.36 |  | 0
4.2.4.20 | Coating of the internal side of wall of the inspection chamber with 3 layers of plaster of 300 kg ciment mixture | m2 | 13.6 |  | 0
4.2.4.21 | Plaster on upper side of the slab with a rough mortar class B | m2 | 4.68 |  | 0
4.2.4.22 | Supply and fix the damp proof course between the roof slab and the wall | m2 | 1.2 |  | 0
4.2.4.23 | Supply and fix of the metallic cover of 60X60X0.3 cm with a ventilation shaft at the top and the mosquito screen | item | 1 |  | 0
4.2.4.24 | Supply and fix an iron ladder for interior access embedded in the wall, painted with 3 layers of rust preventive paint, the step=25cm | lm | 1 |  | 0
4.2.4.25
4.2.4.26 | REJECTION WORK
4.2.4.27 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 5.67 |  | 0
4.2.4.28 | Hardcore (Stones pitching) of 20 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 0.44 |  | 0
4.2.4.29 | Blind concrete class C, thickness 5 cm | m3 | 0.11 |  | 0
4.2.4.30 | Reinforced concrete class A, for base slab | m3 | 0.22 |  | 0
4.2.4.31 | Masonry walls in hardcore, with fair face pointed at the joints | m3 | 0.134 |  | 0
4.2.4.32 | Coating of walls with 3 layers of plaster of 300 kg cement mixture | m2 | 5.3 |  | 0
4.2.4.33 | Soakaway pit 1 m3, full of gravel and hardcore (stones pitching) | item | 1 |  | 0
4.2.4.34 | Supply and installation of hydraulic equipment and Fittings for connection of 10m3 reservoir | Lump Sum | 1 |  | 0
4.2.4.35 | SUBTOTAL |  |  |  | 0
| SUBTOTAL OF 4 R 10 m3: |  |  |  | 0
| Sub total for reservoir |  |  |  | 0
4.3 | Water point with taps
4.3.1 | Construction of Water point with double taps for community
4.3.1.1 | Earthworks cut, fill and evacuation or overlay of the surplus soils, including all accruals | m3 | 36.18 |  | 0
4.3.1.2 | Hardcore (stones pitching) of 30 cm with a filling of 1:10 cement sand mortar mix, saturated with water | m3 | 2.0745 |  | 0
4.3.1.3 | Blind concrete class C, thickness 5 cm | m3 | 0.34575 |  | 0
4.3.1.4 | Reinforced concrete for base slab ,class A | m3 | 1.05 |  | 0
4.3.1.5 | Reinforced concrete for roof slab ,class A | m3 | 0.09 |  | 0
4.3.1.6 | walls in stones masonry jointed with a mortar of class D | m3 | 0.9328 |  | 0
4.3.1.7 | Coating of walls with 3 layers of plaster of 300 kg | m2 | 13.26 |  | 0
4.3.1.8 | Plaster on the upper side of roof slab with a rough mortar class B | m2 | 0.1 |  | 0
4.3.1.9 | Supply and fix the damp proof course between the roof slab and the wall | m2 | 0.56 |  | 0
4.3.1.10 | Supply and fix of the metallic cover of 50X50X0.3 cm | item | 1 |  | 0
4.3.1.11 | Supply and installation of hydraulic equipment and Fittings including volumetric water meter with at least nominal flow rate of 1.5m3/h and max admissible pressure of 16 bar in conformity with European standards and WASAC Group ltd | Lump Sump | 1 |  | 0
4.3.1.12 | Soakaway pit 1 m3, full of gravel and hardcore (stones pitching) | item | 1 |  | 0
| Sub total |  |  |  | 0
| Total for 11 Water taps |  |  |  | 0
4.3.2 | Construction of a water point with 3 taps for Schools
4.3.2.1 | Terracing, digging, cutting, excavation, backfilling, overlay of surplus soil and land remediation, including all acruals | m3 | 51.456 |  | 0
4.3.2.2 | Hardcore of 30 cm with a filling of cement and sand mortar 1:10 mixture, saturated with water | m3 | 2.55 |  | 0
4.3.2.3 | Blind concrete class C, thickness 5 cm | m3 | 0.51 |  | 0
4.3.2.4 | Reinforced concrete for base ,class A | m3 | 1.5624 |  | 0
4.3.2.5 | Reinforced concrete for roof of slab on watermeter chamber, class A | m3 | 0.17 |  | 0
4.3.2.6 | walls in stones masonry with fair face jointed with a mortar of class D | m3 | 1.586 |  | 0
4.3.2.7 | Coating of walls with 3 layers of plaster of 300 kg cement mixture | m2 | 14.02 |  | 0
4.3.2.8 | Plaster on the upper side of roof slab with a rough mortar class B | m2 | 0.14 |  | 0
4.3.2.9 | Supply and fix the damp proof course between the roof slab and the walls | m2 | 0.84 |  | 0
4.3.2.10 | Supply and fix of the metallic cover of 50 x 50 x 0,3 cm | item | 1 |  | 0
4.3.2.11 | Soakaway pit 1 m3, full of gravel and hardcore (stones pitching) | item | 1 |  | 0
4.3.2.12 | Supply and installation of hydraulic equipment and Fittings including volumetric water meter with at least nominal flow rate of 1.5m3/h and max admissible pressure of 16 bar in conformity with European standards and ISO 4064 | Lump Sump | 1 |  | 0
| TOTAL OF A WATER POINT WITH 3 TAPS |  |  |  | 0
| TOTAL OF 2 WATER POINTS WITH 3 TAPS |  |  |  | 0
4.3.3 | Construction of the Kiosk with double taps
4.3.3.1 | Preliminary works
4.3.3.2 | Cutting and filling for leveling | m3 | 28.704 |  | 0
4.3.3.3 | Foundation
4.3.3.4 | Excavation | m3 | 8.24 |  | 0
4.3.3.5 | Blind concrete | m3 | 0.618 |  | 0
4.3.3.6 | Masonry with stones for foundation | m3 | 8.24 |  | 0
4.3.3.7 | Concrete for leveling foundations | m2 | 10.3 |  | 0
4.3.3.8 | Damp proofing against humidity | lm | 4.12 |  | 0
4.3.3.9 | Masonary
4.3.3.10 | Masonry in burnt bricks with external joints pointed | m3 | 3.696 |  | 0
4.3.3.11 | Ventilator in concrete blocks | m2 | 0.32 |  | 0
4.3.3.12 | Concrete
4.3.3.13 | Ring beam in reinforced concrete | m3 | 0.516 |  | 0
4.3.3.14 | Roofing
4.3.3.15 | Wooden struts 100 X 50 X 5 (mm) | lm | 18 |  | 0
4.3.3.16 | Wooden purlins 40 X 40 X 3 (mm) | lm | 27.6 |  | 0
4.3.3.17 | Rafters in right angled triangle | lm | 240 |  | 0
4.3.3.18 | Facia board in wood | lm | 25.8 |  | 0
4.3.3.19 | Pile in metalic tubes 60 x 40 x 3 mm | lm | 9 |  | 0
4.3.3.20 | Cover
4.3.3.21 | Cover of tile in blue prepainted autoportant | m2 | 27.6 |  | 0
4.3.3.22 | Shutters
4.3.3.23 | Metallic simple door semi glazed with burglar proofs | item | 1 |  | 0
4.3.3.24 | Hardwood doors | item | 1 |  | 0
4.3.3.25 | Glazed Metallic window with burglar proofs 100X120 cm | item | 2 |  | 0
4.3.3.26 | Paving
4.3.3.27 | Floor with smooth finish | m2 | 14.296 |  | 0
4.3.3.28 | Splash apron and water channel | m2 | 12.48 |  | 0
4.3.3.29 | Plastering
4.3.3.30 | Plastering of the interial walls | m2 | 36.96 |  | 0
4.3.3.31 | Plinth | lm | 8.24 |  | 0
4.3.3.32 | Ceiling to Eaves | m2 | 6.4 |  | 0
4.3.3.33 | Carten rail and box assembly | lm | 4.2 |  | 0
4.3.3.34 | Paint
4.3.3.35 | Latex paints on walls | m2 | 36.96 |  | 0
4.3.3.36 | Enamel paint | m2 | 14.61 |  | 0
4.3.3.37 | Varnish on flash or solid timber doors | m2 | 2.73 |  | 0
4.3.3.38 | Varnish on Eave ceiling | m2 | 6.4 |  | 0
4.3.3.39 | Soakaway pit 1.5 m3, full of gravel and hardcore covered by concret slabs for acquisition of water that have not entered in jerrycans | item | 1 |  | 0
4.3.3.40 | Supply and installation of hydraulic equipment and Fittings including volumetric water meter with at least nominal flow rate of 1.5m3/h and max admissible pressure of 16 bar in conformity with European standards and WASAC Group ltd | Lump Sump | 1 |  | 0
| Sub total of BFK |  |  |  | 0
| SUBTOTAL of WATER POINTS: |  |  |  | 0
| SUBTOTAL civil works |  |  |  | 0
| GENERAL TOTAL WITH ALL TAXES INCLUSIVE |  |  |  | 0