## Financial verification
BILL OF QUANTITIES AND ESTIMATION COST FOR REHABILITATION OF MUKO MAIZE FLOUR MILLING PLANT PREMISES
I | SITE INSTALLATION
N° | ITEMS | UNIT | QTY | UP | TOTAL
I | Site Establishment, Mobilization and Demobilization
1.1 | Provide for site installation, site clearing, mobilization and demobilization of personnel, equipment, tools and materials; site office facilities and materials; site records/book; personal protective equipment (PPE); first aid facilities and equipment; environmental management measures; and all other necessary requirements for the proper execution and completion of the works. | LS | 1
1,2 | Provision for unforeseen works and repair of existing damaged elements during rehabilitation works, including replacement or fixing of any accidental damages to building components such as roofing iron sheets, ceilings, doors, windows, finishes, or any other existing structures affected during construction activities (including partition wall works and related operations). The item also covers labor, materials, and making good all disturbed or damaged areas to restore them to their original or better condition, complete. | L.S | 1
Total I
II | EXISTING WAREHOUSE
2.1 | Carefully demolish and remove the existing damaged or deteriorated pavement within the warehouse and walkway areas, including breaking up, loading, transporting, and properly disposing of all resulting debris and waste materials to an approved dumping site, in accordance with environmental regulations and the Engineer’s instructions, leaving the site clean, safe, and free from any obstruction or debris. | L.S | 1
2.2 | Excavation of foundations trenches for warehouse partition wall, with thickness of 60cm and Height 1.5m to the level of good soil bearing for foundation and footings with 0.6m0.6m0.3m including Backfilling around foundations with efficient Compaction in foundation trenches before blinding concrete, Laying of the anti-termites products in the foundation trenches and on masonry foundations, etc.. | m3 | 19.5
Sub Total II
II | MASONRY
2.1 | Rubble stones masonry foundation with size of 40cm thickness and height 1.5m jointed with cement mortar mixed with 300kg / CM. The remaining visible faces should be carefully mounted with exposed masonry including repointing with cement mortar | m3 | 9.6
2.2 | Supply and installation of Damp Proof Course (DPC) and Damp Proof Membrane (DPM): Provision and laying of a minimum 500-micron polythene sheet horizontally on the plinth masonry wall to prevent rising damp, alongside a heavy-duty membrane laid over the blinded hardcore bed with 150mm sealed overlaps turned up at the edges, including all necessary surface preparation, cutting, waste, and cleaning. | m2 | 12.8
2.5 | construction of a 20cm thick internal partition wall using high-quality burned bricks laid in a 1:4 cement-sand mortar, ensuring perfectly straight horizontal and vertical joints, regular form, and plumb alignment. The masonry work must be raised to match the exact height and profile of the existing building structure, securely anchored to existing structural members, and includes all necessary scaffolding, brick wetting, raking out joints for plastering, labor, and material wastage. | m3 | 48
2.7 | Cement screed on foundationreed on foundation | m2 | 8.4
Sub Total II
III | CONCRETE
3.1 | Blinding concrete under foundation masonry rubble stones and footings. Mix of 400kg / CM, thickness 10cm | m3 | 1.44
3.2 | The reinforced concrete for footings, with dimensions of 60 cm x 60 cm x 35 cm, includes formwork and fixtures, cutting, bending, and laying of reinforcement. The concrete mix dosage is 400 kg per cubic meter, with steel bars of @12 mm and stirrups of@ 8 mm. Wooden formwork will be used. Additionally, footings and columns must be placed at all corners of the building. | m3 | 0.75
3.3 | Ground beam vibrated reinforced concrete class 25/20mm with the dimension of 20x30 cm of concrete and still bars of @10 and stirrup of @6 Formwork in wood, Dismantling, supply, fixing steel reinforcement, cutting, bending, hooking, tying and supporting as required. | m3 | 0.8
3.4 | Reinforced concrete class 25/20mm with dimension of 20cm*20cm for columns and sub columns including formwork and fixtures cutting, bending and laying of reinforcement; Concrete apparent weapon mix 400kg / CM and still bars of @12 and stirrup of @8 formwork in wood | m3 | 3.8
3.5 | Reinforced concrete for continuous Lintel Beam vibrated reinforced concrete class 25/20mm with the dimension of 20x30 cm of concrete and still bars of @10 and stirrup of @6 Formwork in wood, Dismantling, supply, fixing steel reinforcement, cutting, bending, hooking, tying and supporting as required. | m3 | 0.8
3.6 | Reinforced concrete for continuous Lintel Beam vibrated reinforced concrete class 25/20mm with the dimension of 20x30 cm of concrete and still bars of @10 and stirrup of @6 Formwork in wood, Dismantling, supply, fixing steel reinforcement, cutting, bending, hooking, tying and supporting as required. | m3 | 0.8
Sub Total II
IV | WINDOW,DOORS AND FRAMES
4.1 | Supply and installation of a metallic glazed door with a fixed transom 180cm* 260cm: Fabrication, delivery, and rigid installation of a glazed steel door framed with 1.5mm thick heavy-duty hollow iron profiles anchored into the existing building structure. The assembly includes approved safety glass, heavy-duty architectural hardware (mortise locksets, robust hinges, pull handles), weather-sealants, surface preparation with a premium anti-rust primer, and a final finish of two coats of high-grade paint approved by the client, inclusive of all scaffolding, labor, and cleaning. | Item | 1
4.2 | Supply and installation of a metallic glazed window with a fixed transom 180cm*200cm: Fabrication, delivery, and rigid installation of a glazed window framed with 1.5mm thick heavy-duty hollow iron profiles anchored into the existing building structure. The assembly includes approved safety glass, functional architectural window hardware (locking handles, hinges, and friction stays), weather-proof perimeter sealants, surface preparation with a premium anti-rust primer, and a final finish of two coats of high-grade paint approved by the client, inclusive of all scaffolding, labor, and cleaning. | Item | 1
Sub Total IV
V | VERTICAL COATINGS
5.1 | Application of a two-coat plaster system to newly constructed partition walls and repair of existing walls: Thorough preparation of all masonry surfaces, including raking out joints on the new partition wall and hacking, cleaning, and wetting damaged areas of the existing walls to ensure maximum adhesion. The work consists of applying a first scratch coat composed of a cement, lime, and sand mixture (1:2:6) followed by a second finishing coat of a cement and sand mixture (1:1:5), smoothly and uniformly finished with a steel trowel to a perfectly plumb and flush finish that blends seamlessly between old and new surfaces, including all necessary scaffolding, bonding agents, curing, labor, and cleaning. | m2 | 580
5.3 | Outdoor and indoor skirting in cement mortar mixed at 450kg/CM | m2 | 26
Sub Total V
VI | HORIZONTAL COATINGS
6.1 | Supply, compaction, and finishing of a 18cm thick concrete slab for the warehouse floor and external walkway: Pouring of structural-grade concrete mixed in a 1:2:4 ratio over a well-compacted, blinded hardcore bed, thoroughly consolidated using a mechanical vibrator machine to eliminate voids. The installation includes all necessary formwork, surface leveling, distinct finishing (smooth steel trowel for the warehouse floor and anti-slip texture for the walkway), creation of construction joints, and a minimum 7-day wet-curing protocol, inclusive of all materials, equipment, and labor. | m3 | 50.4
6.2 | Supply and Fixing of Ceramic Floor Tiles(50cm*50cm) Supply and lay approved ceramic floor tiles on both the floor and plinth (skirting) of the flour store, fixed on a well-prepared and leveled concrete screed using cement-sand mortar bedding mixed at a ratio of 1:3 (cement : sand), including cutting, fitting, laying, and finishing. The item also includes grouting of joints with cement paste, proper alignment of skirting with floor tiles, curing, and cleaning, complete. | m2 | 108
6.3 | Levelling smoothed cement screed in apportioned cement 500kg / CM thickness of at least 2cm in internal of the Building and on sidewalks& Provide a joint line on the pavement | m3 | 144
Sub Total VI
VII | ELECTRICITY INSTALLATION
7.1 | Repair and rehabilitate the existing electrical installation, including replacement and installation of PVC conduits, junction and connection boxes, electrical wiring and accessories, main supply cables, distribution board with circuit breakers, earthing system, lighting fixtures, switches, and power sockets. The item shall include provision and installation of four (4) lamps, four (4) power sockets (plugs), and corresponding switches inside the warehouse, and three (3) external lamps with corresponding switches outside the building. The works shall also include testing, commissioning, and supply and fixing of 9 kg fire extinguishers and all necessary safety accessories, complete. | L.S | 1
Sub Total VIII
IX | PAINTS
9.1 | Prepare surfaces and apply three coats of silk paint to all internal plastered surfaces of the warehouse, and apply three coats of weather guard paint to all external plastered surfaces, including plinths, columns, beams, and repainting of existing painted surfaces where required. The color and type of silk paint and weather guard paint shall be approved prior to application. | m2 | 860
9.2 | Prepare all door,Gutters,fascia and window surfaces and apply two coats of approved oil paint to both new and existing doors and windows, including surface cleaning, scraping, sanding, filling where necessary, and proper preparation before painting. The color of the paint shall be approved prior to application. | L.S | 3
9.5 | Branding | L.S | 1
Sub Total IX
X | WATER INSTALLATION
10.1 | Supply and install a 10 m³ plastic water storage tank complete with all necessary accessories, including connection pipes, fittings, valves, and overflow arrangements. The tank shall be mounted on a stable masonry support structure designed and constructed to safely carry the full tank load. The item shall also include finishing of the support structure and construction of a drainage channel for overflow water to ensure proper discharge and prevent water accumulation, complete. | Item | 1
Sub Total X
G/TOTAL
III | EXISTING MAIN OFFICE
ELEVATIONS
3.1 | Supply and construct 10 cm thick internal partition walls within the office to create two dressing rooms, using treated timber framing and gypsum boards fixed securely to form a rigid and stable structure. The works shall include cutting, fixing, and jointing of gypsum boards, installation of timber studs and bracing, and all necessary accessories. Provide and leave door openings of size 90 cm × 210 cm as indicated on the drawings. After installation, apply joint filling, smoothing, and a skim coat (stucco finish) to achieve a uniform surface matching the existing walls. Finally, apply three coats of approved paint to the finished surfaces to blend with the existing wall finishes, complete. | m2 | 60
WINDOW,DOORS AND FRAMES
3.2 | Supply and install Metallic Glass doors of size 90 cm × 240 cm for the partition walls of the dressing room,and Office manufactured from high-quality metallic sheets with a treated Tubes frame and Tubes lipping to all edges. The door shall be complete with hard architraves, stainless steel hinges, lever handle, lockset, door stopper, and all necessary ironmongery and accessories. The door leaf shall be lightweight and suitable for fixing to partition walls, including preparation, fitting, alignment, finishing, and application of two coats of approved oil paint, complete. | Item | 2
3.3 | Create an opening in the existing wall and supply and install a metallic glazed window with fixed transom of size 150 cm × 180 cm, including careful cutting and making good of the existing wall. The window shall be fabricated from 1.5 mm thick heavy-duty hollow steel sections and securely fixed to the existing structure. The works shall include supply and installation of approved glazing, locking handles, hinges, and all necessary accessories, weatherproof sealing around the frame, application of anti-rust primer, and finishing with two coats of approved paint. The item shall also include all labor, fixing materials, making good disturbed finishes, and cleaning, complete. | Item | 2
PAINTS
3.4 | Prepare surfaces and apply two coats of silk paint to all internal plastered surfaces of the Office, dressing rooms and apply three coats of weather guard paint to all external plastered surfaces, including plinths, columns, beams, and repainting of existing painted surfaces where required. The color and type of silk paint and weather guard paint shall be approved prior to application. | m2 | 260
3.5 | Prepare all door,Gutters,fascia and window surfaces and apply two coats of approved oil paint to both new and existing doors and windows, including surface cleaning, scraping, sanding, filling where necessary, and proper preparation before painting. The color of the paint shall be approved prior to application. | L.S | 1
3.6 | Prepare, repair, and make good the existing ceiling surfaces, including removal of loose paint, filling of cracks and defects, sanding, and surface leveling to achieve a uniform finish. Repaint the ceiling using approved paint matching the existing color, including application of necessary coats to ensure full coverage and an even appearance, complete. | m2 | 60
3.7 | Repair and rehabilitate the existing electrical installation within the office, including replacement and installation of PVC conduits, junction boxes, wiring, accessories, main supply cables, distribution board with circuit breakers, earthing system, lighting fixtures, switches, and power sockets. The works shall include installation of four (4) internal lamps, four (4) power sockets with corresponding switches, and two (2) external lamps with switches, complete with testing and commissioning. | L.S | 1
3.8 | Supply and Fixing of Ceramic Floor Tiles(50cm*50cm) Supply and lay approved ceramic floor tiles on both the floor and plinth (skirting) of the flour store, fixed on a well-prepared and leveled concrete screed using cement-sand mortar bedding mixed at a ratio of 1:3 (cement : sand), including cutting, fitting, laying, and finishing. The item also includes grouting of joints with cement paste, proper alignment of skirting with floor tiles, curing, and cleaning, complete. | m2 | 15
3.9 | Supply and install a cupboard of overall dimensions 2.00 m length × 0.60 m width × 2.00 m height, constructed with a timber frame and finished with high-quality plywood panels, complete with full-height doors, approved handles, locking system with keys, internal partitions and shelves forming separate storage chambers/compartments, including all necessary fittings, accessories, carpentry works, finishing, sanding, polishing/painting as approved, and all labor and materials required to complete the work to the satisfaction | Item | 1
Total
IV | FENCE
4.1 | Carefully demolish and remove the existing galvanized wire mesh fence, including dismantling of posts, mesh panels, fasteners, and all associated fittings without causing damage to adjacent structures. The item also includes loading, transporting, and disposing of all debris to an approved disposal site, and clearing the fence line to prepare for new works, complete. | L.S | 1
4.2 | Excavation of foundations trenches for warehouse partition wall, with thickness of 60cm and Height 1m to the level of good soil bearing for foundation and footings with 0.6m*0.6m*0.3m including Backfilling around foundations with efficient Compaction in foundation trenches before blinding concrete, Laying of the anti-termites products in the foundation trenches and on masonry foundations, etc.. | m3 | 126
4.4 | Rubble stones masonry foundation with size of 40cm thickness and height 1.5m jointed with cement mortar mixed with 300kg / CM. The remaining visible faces should be carefully mounted with exposed masonry including repointing with cement mortar | m3 | 56
4.5 | Refix and realign all existing fence posts to ensure stability and proper alignment for fixing galvanized wire mesh. The works shall include anchoring and strengthening the posts in concrete mortar, tightening and making good any loose or damaged sections, followed by surface preparation and application of anti-rust primer and two coats of approved paint to prevent corrosion, complete. | L.S | 1
4.6 | Supply and install a 2 m high galvanized wire mesh fence, including all necessary preparation works, setting out, and fixing of fence materials. The item shall comprise supply and installation of galvanized mesh panels, posts, tension wires, fasteners, and all accessories required for proper erection and stability, complete. | m2 | 320
4.7 | Supply, fabricate, and install a sliding entrance gate of size 2.5 m × 3.5 m, constructed from 1.5 mm thick heavy-duty hollow steel profiles and clad with 1.5 mm thick metallic steel sheet. The gate shall be securely fixed to the existing structure with proper sliding tracks, rollers, guides, and a locking system to ensure smooth operation, strength, and stability. The item shall include surface preparation, application of anti-rust primer, and finishing with two coats of approved high-grade paint, complete with all fittings, accessories | Item | 1
4.8 | Carefully break out, remove, and dispose of all damaged and deteriorated sections of the existing paved surface, including loose, cracked, or defective concrete. Prepare the exposed base and fill voids with well-compacted hard-core where necessary, followed by casting of in-situ concrete of suitable grade to reinstate the pavement. All cracks on adjacent sound pavement shall be cleaned, prepared, and repaired using cement-based repair mortar to ensure a uniform and durable finish. The item includes curing, surface finishing, joint reinstatement where applicable, and all necessary materials, labor, and incidentals to complete the works. | m3 | 12
Total
V | EXTENSION OF BRANDA HOUSE
I | PRELIMINARIES AND EXCAVATION WORKS
1.3 | Levelling and setting out of all structures by using efficient equipment including Total station, level, Ranging Rods, Pegs, etc | Ls | 1
1.4 | Excavation of foundations trenches with thickness of 60cm and Height 1.5m to the level of good soil bearing for foundation including Backfilling around foundations with efficient Compaction in foundation trenches before blinding concrete, Laying of the anti-termites products in the foundation trenches and on masonry foundations, etc.. | m3 | 18
Sub Total I
II | MASONRY
2.1 | Rubble stones masonry foundation with size of 40cm thickness and height 1.5m jointed with cement mortar mixed with 300kg / CM. The remaining visible faces should be carefully mounted with exposed masonry including repointing with cement mortar | m3 | 12
2.5 | Walling with Burned bricks of 20 cm thick, built in cement and sand (1:4) mortar with straight horizontal and vertical joints, regular form. | m3 | 16
2.6 | Bituminous felt (roofing) barrier against moisture between base and wall Hoists file and ask, minimum width 30cm | m2 | 6
2.7 | Cement screed on foundationreed on foundation | m2 | 6
Sub Total II
III | CONCRETE
3.1 | Blinding concrete under foundation masonry rubble stones and footings. Mix of 400kg / CM, thickness 8cm | m3 | 0.64
3.5 | Reinforced concrete for continuous Lintel Beam vibrated reinforced concrete class 25/20mm with the dimension of 20x30 cm of concrete and still bars of @10 and stirrup of @6 Formwork in wood, Dismantling, supply, fixing steel reinforcement, cutting, bending, hooking, tying and supporting as required. | m3 | 1
3.6 | Elevation of Concrete aerated Claustra each of size of 20x20 mixed at 1:3 | ml | 8
Sub Total II
IV | WINDOW,DOORS AND FRAMES
4.1 | Provide and install a metallic glass door with an iron frame and all necessary hardware, as per the dimensions indicated in the drawings . This includes rust-proof painting and other paint finishes will be approved by the client. The overall dimensions are 900 mm x 2400 mm x 1.5 mm, including a fixed transom part | Item | 1
4.4 | Supply and fixation of glass window with iron metallic frame and grid in metallic tubes with sizes(150cm*180cm) ,including against rust painting and other painting approved by the client NB/Windows should be Slide | Item | 1
Sub Total IV
V | VERTICAL COATINGS
5.1 | Apply plaster to all internal walls using a two-coat system: the first coat shall consist of a cement–lime–sand mix in the ratio of 1:2:7, and the second coat shall consist of a cement–sand mix in the ratio of 1:1:5, finished with a steel trowel to achieve a smooth surface. | m2 | 80
5.2 | Repointing with Cement mortar mixed at 350 kg/m3 on Fence walls | m2 | 24
5.3 | Outdoor and indoor skirting in cement mortar mixed at 450kg/CM | m2 | 12
Sub Total V
VI | HORIZONTAL COATINGS
6.1 | Hardcore pavement with a thickness of 40 cm, made of rubble stones mixed with cement mortar at a ratio of 300 kg/m³, laid on the prepared ground and well compacted using a compactor machine. The pavement will have a compacted thickness of 30 cm for sidewalks and channels surrounding the building, with all necessary subgrade preparation, and a sidewalk width of 1 m | m3 | 16
6.2 | Concrete of cement on the top of the hardcore well compacted by using Vibrator machine with a ratio of 1:2:4; with a thickness of 20cm | m3 | 8
6.3 | Levelling smoothed cement screed in apportioned cement 500kg / CM thickness of at least 2cm in internal of the Building and on sidewalks& Provide a joint line on the pavement | m2 | 40
Sub Total VI
VII | ELECTRICITY INSTALLATION
7.1 | Supply, installation, testing, and commissioning of complete electrical works including PVC conduits (20mm) in slabs, walls, and ducts; junction boxes; approved multi-core cables (1.5mm² for lighting, 2.5mm² for sockets, and main supply cables as specified); distribution board with 4 circuit breakers; fluorescent tube lamps; one-way and double switches; power socket outlets with earthing; circuit breakers (6–16A); complete earthing system; and all necessary accessories, including one (1) lamp, one (1) switch, and one (1) power socket per room, all as per RSB standards. | L.S | 1
7.2 | Supply of a portable bag closing sewing machine suitable for sealing woven polypropylene (PP), multi-wall paper, and laminated flour bags in dusty environments, equipped with an enclosed dust-protected AC motor (220–240V, 50Hz), single-thread chain stitch system (Type 101), stitching speed of 1,500–1,900 stitches per minute, adjustable stitch length of 6.5–8.5 mm, integrated automatic thread cutting system, built-in lubrication system, and lightweight ergonomic design not exceeding 6 kg. The machine shall operate with low vibration, ensure continuous industrial use efficiency, and be supplied with a 12-month warranty, maintenance tools, spare needles (DNx1 type), and standard replacement parts from approved manufacturers or equivalent. | Item | 1
LIGHTNING ARRESTOR
7.3 | SITC of Vertical Air Termination (Lightning Strike Receiver) – Ø25 mm, L = 800 mm tinned copper rod complete with 50 mm diameter GI supporting pipe, including all fixing accessories and installation. | item | 1
7.4 | SITC of Test Link complete with GI Inspection Box, including all necessary hardware, fittings, accessories, and installation. | item | 25
7.5 | SITC of 25 × 3 mm Tinned Copper Strip complete with brass saddles, spacers, stainless steel fixing hardware, and all accessories required for complete installation. | ml | 25
7.6 | SITC of Metallic Grid Pole of 20 m Height complete with reinforced concrete footing foundation and galvanized steel guy wires/cables for stabilization and vertical alignment, including all accessories and installation. | Item | 1
| Supply and installation of charcoal and salt for improvement of earthing resistance, to be placed in an earth pit of 1.0 m depth, including approximately 5 kg of salt and all associated works for proper earthing performance. | Item | 1
| SITC of Copper-Bonded Earth Electrode/Rod complete with driving accessories, clamps, connectors, and installation. | Item | 1
| SITC of Earth Inspection Chamber complete with concrete surround, cover, and frame. | Item | 1
| Construction of Earth Pit including excavation, backfilling, compaction, and all associated civil works. | Item | 1
| SITC of Down Conductor (Tinned Copper Strip/Cable) complete with saddles, clips, supports, fixing accessories, and installation. | ml | 25
| SITC of Earth Clamps / Exothermic Weld Connections for all earthing and lightning protection joints. | Item | 10
| SITC of Equipotential Bonding Connections to all metallic parts and equipment. | Item | 1
| Testing and Commissioning of complete Lightning Protection and Earthing System including earth resistance measurement and submission of test report. | Item | 1
| Supply and installation of identification labels and warning signage for lightning protection and earthing system. | Item | 1
| Excavation, reinstatement, making good, and disposal of surplus materials after completion of works. | Item | 1
Sub Total
Sub Total VII
VIII | RAIN WATER HAVESTING
8.1 | Rainwater installations &#39;U.P.V.C. Pipes,gutters and fittings to B.S. 4576, &#39;part 1 (reference to Terrain Product HandbookPH.05 ) Pipes (2100) with solvent weldedjoints fixed to walls with holder bats ( 140), including Extra for outlet in pipe, Extrafor shoe in pipe, Galvanized steel wire balloon grating wrapped in mosquito gauze and set in pipe diameter - 110 mm | Ls | 1
8.2 | Replacement of existing water tank with a 5m³ plastic tank, including demolition/removal of the existing tank where applicable, construction of a hardcore stone base/support seat with proper compaction, masonry works, and plastering/finishing to securely accommodate the new tank, complete in all respects. | L.s | 1
8.3 | Repair the existing sink at Branda House, including inspection, replacement of damaged accessories and fittings, reconnection to the water supply and drainage system, sealing all joints, testing for leakage, and carrying out all necessary adjustments to ensure the sink is fully functional and operating properly upon completion. | Item | 1
8.4 | Provide The Drainage channel (Use PVC Pipes with diameter of @110mm) contains Soak way, 3 G.T, Soak pit with height of 6m&diameter of 1m and also it should be covered by reinforced concrete slab on the top of hole | L.s | 1
Sub Total VIII
IX | PAINTS
9.2 | Prepare and apply three coats of silk paint on internal plastered walls, prepare and apply three coat of weather guard paint on External plastered walls with three different colors. Color of paint and weather guard paint will be approved by the Supervisor | m2 | 160
Sub Total IX
X | ROOF STRUCTURE
10.1 | Supply, screws, and assemble roof structural in metallic purlin, rafter and trusses as indicated in structural drawings, and apply anti-fungal grease Steel tubes: 40x40 x1.2 rectangular | LM | 80
10.2 | Supply BA iron sheets BG28 roof cover with all accessories/ Blue color and fix them to trusses. Roof Angles Should be 35 | m2 | 40
10.3 | Supply and Fixation of Metallic gutter (25x25x20)cm welded to roof trusses painted/ Color approved by Supervisor | LM | 26
10.4 | Supply and fixation of Metallic fascia board painted, Color approved by Supervisor | LM | 26
X | WATER INSTALLATION
TOTAL
TOTAL OF PROJECT